- Chapter 1: Introduction

- Chapter 2: Introduction to Radiation Detection and Monitoring Systems

  - Radiation Detectors

    - The History and Principles of Radioactivity and Radiation Detection

    - Evolution of Radiation Detection

    - Radiation Detector Types and Operation Fundamentals

    - Scintillation Detector Mechanics

    - History of Reflective Coating

    - Reflective Coating Types

    - Radiation Detector and Reflective Coating Characterization Properties

    - Coating Properties Measurement Methods

  - Wireless Radiation Monitoring Networks

    - History of Wireless Network Development

    - Wireless Network Types and Operation Fundamentals

    - Networked Radiation Monitoring – Central Alarm Station

- Chapter 3: Materials, Characterization and System Prototyping Techniques

  - Materials

    - Scintillation Crystal - Thallium-doped Cesium Iodide - CsI(Tl)

    - Metal Oxides (TiO2, Al2O3, MgO, ZnO, BaSO4)

    - Polymeric Binding Agents (PVP, CMC, PVA)

    - Solvent

  - Material Characterization Techniques

    - Particle Size Analysis

    - Ultraviolet-Visible Spectroscopy (UV-Vis)

    - Diffuse Reflectance Spectroscopy

    - X-Ray Diffraction (XRD)

    - Digital Colorimetry and Discoloration Assessment

  - Wireless Network Prototyping and Techniques

    - Hardware Prototyping and PCB Integration

    - Network Layout Configuration and Software Environment

    - Central Alarm System (CAS) Remote Monitoring and Dashboard Development

- Chapter 4: Development of Enhanced Coating for a Scintillation Detector

  - Introduction

  - Materials and Methods

  - Results and Discussion

// Visual Inspection, absorbance, thickness

- Chapter 5: Development of Personal Radiation Monitoring Network

  - Introduction

  - Materials and Methods

  - Results and Discussion

- Chapter 6: Conclusion

- References